## Slide 2
Fault locations
Identify impedance variation of connectors
Remove unwanted discontinuities
Simplify filter tuning

## Slide 3
Time domain reflectometry
0
I
I
L
0
I
Localization of the mismatch
Nature and amplitude of the mismatch
Echo measurement (similar to a radar)
Time domain measurement
Different (arrival) times correspond to
different positions

## Slide 4: Matched Termination (ZL=Z0)
Z0
Ei
Open Circuit Termination (ZL=∞)
Ei
Ei
t
t
0
0
2T
Ei
T
ex (t)
ex (t)
Γ=0
Γ=1
Z0
Examples of Devices Under Test (DUTs)
Ei
T
Z0

## Slide 5: Short Circuit Termination (ZL = 0)
0
t
2T
Ei
-Ei
Line Terminated in ZL = 2Z0
2Z0
t
2T
0
Ei
ex (t)
ex (t)
Γ=-1
Γ=
Examples of Devices Under Test (DUTs)
Ei
T
Ei
T
Z0
Z0

## Slide 6: Line Terminated in ZL = Z0
Z0
0
t
2T
Ei
-
ex (t)
Γ= -
Examples of Devices Under Test (DUTs)
Ei
T
Z0

## Slide 7
Examples of open and short circuit terminations (Screen captures from the 86100B)
Measurements
Z0
Z0

## Slide 8: Line Terminated with a Capacitor (ZL = C)
C
0
t
2T
Ei
τ = Z0 C
2Ei
t
2T
0
Ei
2Ei
τ =
L
Line Terminated with a Inductor (ZL = L)
ex (t)
ex (t)
Examples of Devices Under Test (DUTs)
Ei
T
Ei
T
Z0
Z0

## Slide 11: Synthetic pulse with VNA (Time Domain Option)
Convenience: VNA’s outstanding dynamic range compared to the traditional TDR.
Time Response Transfer Function
The VNA operates the FFT of the Transfer Function, to obtain the Time Response.
FOURIER

## Slide 12
Z0
T
Γ
Z0
Step Response
Γ
t
0
0
Γ
Z0
Γ
Z0
Γ
t
0
0
Γ
t
0
0
2T
2T
1
-1

## Slide 13
2Z0
Γ
Z0
Step Response
Γ
t
0
0
Γ
Z0
Γ
Z0
Γ
t
0
0
Γ
t
0
0
2T
2T
1
-1
2T
-1
1
C
L

## Slide 14
0
I
I
2T
0
1
time
-1
Open termination

## Slide 15
0
I
I
2T
0
1
time
-1
Short termination

## Slide 16
0
I
I
2T
0
1
time
-1
-0.3
Z0/2 termination

## Slide 17
Capacitor

## Slide 18
Inductor

## Slide 19
Analytic versus VNA transform

## Slide 20
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)
1)
response to response to =
Step Response Pulse Response

## Slide 21
2) FFT algorithm requires symmetric frequency samples (with respect to the zero).
fmin ≠ 0 zero frequency sample MUST be extrapolated.
f
0
Δf
Δf
Δf
fmax
fmin = Δf
fmin depends by fmax and by the number of samples (number of points).
SET LOW FREQUENCY PASS before calibration!
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)

## Slide 22
3) The slope of the simulated signal depends by fmax :
fmax1 > fmax2 > fmax3
RISE TIME
The spatial resolution is related to fmax .
The fmax is finite.
The Pulse Response isn’t but sinc(t) :
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)

## Slide 23
4) Discrete sampling of frequency:
Tmax=1/2Df
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)
Notes: Nyquist bandwidth

## Slide 24
t/f
5) TIME DOMAIN FREQUENCY DOMAIN
(SYNTHETIC) (MEASUREMENT)
The FFT is influenced by the limited number of samples.
FFT
f/t
f0/ t0
Rectangular window:
Δ= -13dB
BW depends on the number of samples
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)
f/t
f0/ t0
Δ
BW
t/f

## Slide 25
f/t
5) TIME DOMAIN FREQUENCY DOMAIN
(SYNTHETIC) (MEASUREMENT)
The FFT is influenced by the limited number of samples.
FFT
f/t
f0/ t0
t/f
Rectangular window:
Δ= -13dB
BW depends on the number of samples
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)
f/t
f0/ t0
Δ
BW
f/t

## Slide 26
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)

## Slide 27
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)

## Slide 28
The Time Domain Reflectometry in the VNA is a mathematical operation
(Chirp Z Transform)

## Slide 33
?
0
time
0
time
0
time
0
time
0
time
0
time
0
time
0
time
0
time

## Slide 34
Can we measure the window used?
The pulse response to open or short loads (full reflection)
is the FFT of the window being used

## Slide 35
Summary

## Slide 36
6) it’s possible to identify, in time domain, the part of response I’m iterested in.
GATING (time domain filter)
Example
Z0
Z1
Z0
Γ
DUT
Γ
t
Time Domain
(Pulse Response)

## Slide 37
Γ
time
Gating
Frequency Domain
Only DUT
Inconvenience:
Gating decreases signal’s power Lower SNR
General example: an attenuator will attenuate more than expected
frequency
Γ

## Slide 40
… i.e. double resolution!!

## Slide 41
Problem: MASKING in multiple reflection (measuring line impedance)

## Slide 42
Problem: MASKING in multiple reflection (measuring discrete discontinuites)

## Slide 43
LOW PASS STEP
LOW PASS PULSE
BAND PASS
Used for band pass devices
Sign and amplitude of ρ isn’t always easy to understand
Used for gating

## Slide 45
Ten Steps for Performing TDR (Low Pass Step)
Set up desired frequency range (need wide span for good spatial resolution)
2. Under SYSTEM, transform menu, press "set freq low pass“
3. Perform one- or two-port calibration
4. Select S11 measurement *
5. Turn on transform (low pass step) *
6. Set format to real *
7. Adjust transform window to trade off rise time with ringing and overshoot *
8. Adjust start and stop times if desired
9. For gating:
  set start and stop frequencies for gate
  turn gating on *
  adjust gate shape to trade off resolution with ripple *
10. To display gated response in frequency domain
  turn transform off (leave gating on) *
  change format to log-magnitude *
* If using two channels (even if coupled), these parameters must be set independently for second channel
Notes: Slide 89
Here is a summary of how to perform TDR measurements. Without such a checklist, it is easy to overlook some of the more subtle steps, resulting in confusing or misleading measurements. A one-port calibration is all that is needed when characterizing connectors and the open, short and load standards. A two-port calibration is needed to characterize the reflection or line impedance of the thru standard.

## Slide 46: EXERCISES

## Slide 47
Fault location
Capacity variation (Folded cable)
C
Z0
Z0
T
Γ
Γ
Γ
t
t
2T
2T
LOW PASS
STEP RESPONSE
LOW PASS
PULSE RESPONSE
Inductance variation (Frayed cable)
L
Z0
Z0
T
Γ
Γ
Γ
t
t
2T
2T
LOW PASS
STEP RESPONSE
LOW PASS
PULSE RESPONSE

## Slide 48
Inductance variation (Frayed cable)
L
Z0
Z0
T
Γ
Γ
Γ
t
t
2T
2T
LOW PASS
STEP RESPONSE
LOW PASS
PULSE RESPONSE

## Slide 50: Impedance measurement as a function of Z
Z0
Z0
Z0
Z1
Z2
T1
T2
T3
T4
t
Γ
2T1
2T2
2T3
2T4
Z1 < Z0
Z2 > Z0

## Slide 51: Example: Microstripes
T1
T2
2T1
2T2
Nonideality:
The function doesn’t end at zero (attenuation, energy loss, reflections)
Second rise time is slower (dispersion, sharp corners are capacitive and cut high frequencies)
Masking
To have Z(x) you need to calculate the velocity

## Slide 52: Gating
DUT

## Slide 53: Microstipes
W
h
Impedances Various
Taper
Cross-Talk
50Ω
50Ω
25Ω
50Ω
100Ω
50Ω
100Ω
Differences?

## Slide 54
20 pF capacitor

## Slide 55
19 nH inductance

## Slide 57: APPLICATIONS

## Slide 68
Wire (0.5mm)
LHC TCTP collimator wire Measurement

## Slide 69
N. Biancacci et al., TCTP collimator meas., 2014
Coaxial transmission line properties
Matching in impedance measurement is critical.

## Slide 70
Why Time Domain Reflectometry?
Fig.1
Fig.2
In a frequency measurement (see Fig.1) is clearly impossible to locate eventual faults in a system. The measurement doesn’t give any information about space indeed.
If we transform the information given in the frequency domain to the time domain using FFT (Fig.2) it’s now possible to see the faults’location in time.
Presuming that our interest is in the space location of the faults, we can use the following equation:
Where D is the fault’s distance, the velocity of propagation in the line and T the transit time from the monitoring point to the mismatch and back again.

## Slide 71: Why Gating?
A
B
C
D
E
F
In this system we have faults A-F.
Let’s suppose that our interest is only in faults B and C, and we want to isolate the effects of those mismatches to study them in time or frequency domain.
Gating helps us in the following way: using a window pointed on B and C we can isolate the faults removing the effects of the other mismatches. We will obtain a time measurment with only the wanted faults. Now we can use inverse FFT to have frequency information about the mismatches.

## Slide 72
A
B
C
D
E
F

## Slide 73
INVERSE
FFT
We obtain frequency information about the only gated mismatches.
This can be helpful if we want to know, for example, the magnitude or the nature of the mismatch.